## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2021-06-07 | 14:46

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2021
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2021 Demand, MW | 58606.3472 | 69811.9544 | 45380.1922 | Apr: 52800.1256; May: 62820.5734 | 69811.9544
Date | 01/12/2021 | 02/14/2021 | 03/27/2021 | Apr: 04/09/2021; May: 05/26/2021
Hour ending | 08:00 | 20:00 | 18:00 | Apr: 17:00; May: 17:00
Day of the week | Tuesday | Sunday | Saturday | Apr: Friday; May: Wednesday
Forecasted Demand, MW | 60073.618 | 59379.5635 | 52541.172 | 55139.2105 | 64742.1288 | 72661.6492 | 74253.2488 | 77243.6379 | 71201.2616 | 62781.5994 | 54260.5751 | 59500.1777 | 77243.6379
Difference, percent | -2.442% | 17.57% | -13.63% | Apr: -4.242%; May: -2.968% | 7.831%
2020 Demand, MW | 49072.1973 | 56127.6102 | 52833.4707 | 55291.6984 | 64410.804 | 68146.2887 | 74344.0699 | 74375.8462 | 64834.9062 | 63064.2233 | 49020.3408 | 55916.1918 | 74375.8462
Date | 01/08/2020 | 02/06/2020 | 03/26/2020 | 04/08/2020 | 05/19/2020 | 06/08/2020 | 07/13/2020 | 08/14/2020 | 09/01/2020 | 10/11/2020 | 11/09/2020 | 12/17/2020
Hour ending | 08:00 | 08:00 | 17:00 | 17:00 | 18:00 | 18:00 | 17:00 | 17:00 | 15:00 | 17:00 | 16:00 | 08:00
Day of the week | Wednesday | Thursday | Thursday | Wednesday | Tuesday | Monday | Monday | Friday | Tuesday | Sunday | Monday | Thursday
Increase, MW | 9534.1498 | 13684.3442 | -7453.2785 | Apr: -2491.5728; May: -1590.2305
Increase, percent | 19.43% | 24.38% | -14.11% | Apr: -4.506%; May: -2.469%
Max All Time, MW | 65914.6978 | 69811.9544 | 60756.4143 | 55291.6984 | 67265.1165 | 69122.8213 | 74344.0699 | 74819.7146 | 69121.7127 | 65303.777 | 56446.4369 | 57932.4325
Date | 01/17/2018 at 08:00 | 02/14/2021 at 20:00 | 03/05/2019 at 08:00 | 04/08/2020 at 17:00 | 05/29/2018 at 17:00 | 06/27/2018 at 17:00 | 07/13/2020 at 17:00 | 08/12/2019 at 17:00 | 09/06/2019 at 17:00 | 10/02/2019 at 17:00 | 11/12/2019 at 08:00 | 12/19/2016 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2021 Demand, MW | 58715.42 | 69993.566 | 45430.4665 | Apr: 52971.381; May: 63015.5923 | 69993.566
Date | 01/12/2021 | 02/14/2021 | 03/27/2021 | Apr: 04/09/2021; May: 05/26/2021
Interval ending | 07:30 | 19:00 | 17:30 | Apr: 17:00; May: 17:00
Day of the week | Tuesday | Sunday | Saturday | Apr: Friday; May: Wednesday
Max All Time, MW | 66068.475 | 69993.566 | 61563.6014 | 55534.614 | 67435.4482 | 69254.6172 | 74392.1926 | 74896.6615 | 69187.068 | 65365.3599 | 57039.3063 | 58048.2808
Date | 01/17/2018 at 07:15 | 02/14/2021 at 19:00 | 03/05/2019 at 07:15 | 04/08/2020 at 17:00 | 05/29/2018 at 17:00 | 06/27/2018 at 17:00 | 07/13/2020 at 16:45 | 08/12/2019 at 17:00 | 09/06/2019 at 16:45 | 10/02/2019 at 16:45 | 11/14/2018 at 07:00 | 12/19/2016 at 07:30
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2021 Demand, MW | 31614.8973 | 27754.7456 | 29702.3478 | Apr: 29398.3595; May: 31327.3043
Date | 01/19/2021 | 02/24/2021 | 03/05/2021 | Apr: 04/04/2021; May: 05/13/2021
Interval ending | 03:00 | 03:30 | 03:00 | Apr: 04:30; May: 04:00
Day of the week | Tuesday | Wednesday | Friday | Apr: Sunday; May: Thursday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2021
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2021 Energy, MWh | 30821915.4736 | 29095558.0072 | 27328258.808 | Apr: 28077282.5431; May: 31776067.1811 | 147099082.0129
2021 YTD Energy, MWh | 30821915.4736 | 59917473.4808 | 87245732.2888 | Apr: 115312686.0355; May: 147099082.0129
Forecasted Energy, MWh | 32810450.133 | 28418016.688 | 29474913.256 | 28910563.205 | 33506794.459 | 38282884.329 | 41278325.804 | 42216795.274 | 36300366.207 | 32083525.459 | 29555872.3 | 33003523.681 | 405842030.795
Difference, percent | -6.061% | 2.384% | -7.283% | Apr: -2.882%; May: -5.165% | -3.933%
YTD Forecasted Energy, MWh | 32810450.133 | 61228466.821 | 90703380.077 | 119613943.282 | 153120737.741 | 191403622.07 | 232681947.874 | 274898743.148 | 311199109.355 | 343282634.814 | 372838507.114 | 405842030.795
YTD Difference, percent | -6.061% | -2.141% | -3.812% | Apr: -3.596%; May: -3.933%
2020 Energy, MWh | 29045219.2963 | 28014207.9507 | 28213676.0529 | 26968040.6448 | 31282703.8056 | 35530030.0365 | 40318086.7204 | 40846568.052 | 32784781.1844 | 31265619.7264 | 27335002.1891 | 30301400.4501 | 381905336.1091
Increase, MWh | 1776696.1773 | 1081350.0564 | -885417.2449 | Apr: 1109241.8983; May: 493363.3755 | 3575234.2626
Increase, percent | 6.117% | 3.86% | -3.138% | Apr: 4.113%; May: 1.577% | 2.491%
2020 YTD Energy, MWh | 29045219.2963 | 57059427.247 | 85273103.2999 | 112241143.9447 | 143523847.7503 | 179053877.7867 | 219371964.5072 | 260218532.5591 | 293003313.7435 | 324268933.4699 | 351603935.659 | 381905336.1091
Increase, MWh | 1776696.1773 | 2858046.2337 | 1972628.9889 | Apr: 3071542.0908; May: 3575234.2626
Increase, percent | 6.117% | 5.009% | 2.313% | Apr: 2.737%; May: 2.491%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2021 | 70.69% | 62.02% | 81.05% | Apr: 73.86%; May: 67.99% | 58.16%
Demand Factors 2020 | 79.55% | 71.71% | 71.87% | 67.74% | 65.28% | 72.41% | 72.89% | 73.82% | 70.23% | 66.64% | 77.34% | 72.84% | 58.46%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2021 | 70.56% | 61.86% | 80.96% | Apr: 73.62%; May: 67.78% | 58.01%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2021
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2029.6896 | 2571.6448 | 1633.7786 | Apr: 2061.591; May: 2206.6161
LZ_CPS | 3974.756 | 4962.8263 | 3171.1029 | Apr: 3993.8917; May: 4164.2158
LZ_HOUSTON | 14201.4261 | 14236.6749 | 12725.0456 | Apr: 13906.6053; May: 17313.4377
LZ_LCRA | 2793.0201 | 3698.1622 | 1511.2753 | Apr: 1991.3707; May: 2213.7945
LZ_NORTH | 20781.1482 | 27970.153 | 13860.0569 | Apr: 16710.4852; May: 21783.6099
LZ_RAYBN | 1003.2983 | 1520.9314 | 445.6135 | Apr: 514.4575; May: 640.8354
LZ_SOUTH | 8014.7695 | 9879.3677 | 6927.1789 | Apr: 8150.0628; May: 8329.5131
LZ_WEST | 5917.3122 | 5153.8058 | 5156.4149 | Apr: 5642.9169; May: 6363.5698
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2046.405 | 2571.6448 | 1660.0864 | Apr: 2078.5821; May: 2303.448
Date and Time | 12 @ 08:00 | 14 @ 19:00 | 27 @ 18:45 | Apr: 9 @ 18:00; May: 3 @ 17:45
LZ_CPS | 3975.5784 | 5011.0744 | 3201.3545 | Apr: 4052.2878; May: 4454.3636
Date and Time | 12 @ 07:45 | 15 @ 00:15 | 27 @ 18:00 | Apr: 9 @ 18:00; May: 3 @ 17:45
LZ_HOUSTON | 14307.8746 | 14405.3214 | 13207.4247 | Apr: 15503.8373; May: 17807.9172
Date and Time | 11 @ 10:30 | 12 @ 10:15 | 12 @ 15:30 | Apr: 28 @ 15:30; May: 27 @ 16:15
LZ_LCRA | 2794.7672 | 3713.3522 | 1962.109 | Apr: 2025.1011; May: 2326.3463
Date and Time | 12 @ 07:45 | 14 @ 19:45 | 3 @ 07:15 | Apr: 9 @ 18:00; May: 3 @ 18:00
LZ_NORTH | 20794.0474 | 27983.4175 | 16310.0473 | Apr: 17006.2998; May: 21783.6099
Date and Time | 12 @ 07:45 | 14 @ 18:45 | 3 @ 07:15 | Apr: 12 @ 18:00; May: 26 @ 17:00
LZ_RAYBN | 1003.2983 | 1522.4028 | 703.0164 | Apr: 585.0022; May: 668.0478
Date and Time | 12 @ 07:30 | 14 @ 19:30 | 3 @ 07:15 | Apr: 19 @ 07:15; May: 3 @ 17:45
LZ_SOUTH | 8321.4879 | 9944.4813 | 6959.9452 | Apr: 8194.0158; May: 9547.6573
Date and Time | 13 @ 07:30 | 14 @ 20:45 | 27 @ 16:45 | Apr: 28 @ 17:00; May: 17 @ 17:45
LZ_WEST | 5919.1489 | 6279.7984 | 5597.1801 | Apr: 5852.7598; May: 6384.9843
Date and Time | 13 @ 07:30 | 11 @ 10:45 | 2 @ 07:15 | Apr: 27 @ 16:30; May: 26 @ 16:30
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 1053593.9998 | 998692.2538 | 953824.8544 | Apr: 986362.6113; May: 1126591.9975
LZ_CPS | 1820783.3582 | 1835308.3063 | 1627545.6709 | Apr: 1717011.5216; May: 2015859.5485
LZ_HOUSTON | 7935364.8183 | 6700320.8722 | 7513237.8063 | Apr: 7985218.9443; May: 9229486.7673
LZ_LCRA | 1096673.8811 | 1197395.1368 | 847501.7627 | Apr: 853840.4504; May: 997550.3184
LZ_NORTH | 10630641.1932 | 10913491.8047 | 8837659.2182 | Apr: 8648422.225; May: 9689663.0433
LZ_RAYBN | 435392.0653 | 496344.3358 | 297059.375 | Apr: 276386.9792; May: 297476.7058
LZ_SOUTH | 3937807.0871 | 3801545.1885 | 3616104.6831 | Apr: 3999295.161; May: 4535096.9907
LZ_WEST | 3911659.0705 | 3152460.109 | 3635325.4374 | Apr: 3610744.6504; May: 3884341.8095
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2021
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 15142.4284 | 15289.7866 | 13471.4892 | Apr: 14688.6998; May: 18218.2097
EAST | 2494.0376 | 3021.2904 | 1587.8197 | Apr: 1684.3432; May: 2268.8993
FWEST | 4035.3987 | 2809.495 | 3854.9293 | Apr: 4055.0211; May: 4441.6922
NCENT | 19003.0021 | 26061.0521 | 12556.1775 | Apr: 15380.2742; May: 19856.8876
NORTH | 1106.5554 | 1423.6619 | 688.6962 | Apr: 816.9146; May: 1070.0447
SCENT | 10584.2839 | 13201.7466 | 7722.349 | Apr: 9657.1786; May: 10283.028
SOUTH | 4594.4094 | 6024.4723 | 4427.9287 | Apr: 5298.7916; May: 5251.7093
WEST | 1755.3046 | 2162.0611 | 1121.0769 | Apr: 1390.158; May: 1625.1214
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 15183.0452 | 15385.8585 | 13878.2511 | Apr: 16437.4227; May: 18703.1675
Date and Time | 11 @ 10:30 | 12 @ 10:15 | 12 @ 15:30 | Apr: 28 @ 15:30; May: 27 @ 16:15
EAST | 2505.5344 | 3039.1718 | 2045.2529 | Apr: 1980.1134; May: 2325.1557
Date and Time | 12 @ 08:15 | 14 @ 20:15 | 3 @ 07:15 | Apr: 28 @ 16:30; May: 3 @ 17:00
FWEST | 4088.2777 | 4171.0964 | 3951.2493 | Apr: 4253.9072; May: 4463.4217
Date and Time | 13 @ 07:45 | 10 @ 18:45 | 30 @ 20:45 | Apr: 27 @ 16:00; May: 26 @ 16:30
NCENT | 19003.0021 | 26072.1948 | 14735.3083 | Apr: 15457.9197; May: 19856.8876
Date and Time | 12 @ 07:30 | 14 @ 18:45 | 3 @ 07:15 | Apr: 9 @ 17:45; May: 26 @ 17:00
NORTH | 1106.822 | 1426.4893 | 931.8191 | Apr: 877.7458; May: 1070.0447
Date and Time | 12 @ 07:15 | 14 @ 18:45 | 2 @ 07:15 | Apr: 21 @ 07:30; May: 26 @ 17:00
SCENT | 10589.0911 | 13204.7015 | 7849.7529 | Apr: 9819.1986; May: 10909.0496
Date and Time | 12 @ 07:45 | 14 @ 19:15 | 3 @ 07:15 | Apr: 9 @ 18:00; May: 3 @ 17:45
SOUTH | 5087.2699 | 6087.1322 | 4509.4659 | Apr: 5412.1686; May: 5504.8026
Date and Time | 13 @ 07:45 | 14 @ 20:45 | 27 @ 16:30 | Apr: 28 @ 16:30; May: 3 @ 16:45
WEST | 1755.3046 | 2191.8152 | 1480.4974 | Apr: 1390.158; May: 3795.973
Date and Time | 12 @ 07:30 | 14 @ 20:15 | 2 @ 07:15 | Apr: 9 @ 17:00; May: 17 @ 18:45
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 8427652.0498 | 7152452.6129 | 7943810.3482 | Apr: 8489534.2132; May: 9779328.3964
EAST | 1231941.7818 | 1225441.2715 | 1028855.0065 | Apr: 998657.884; May: 1109041.7255
FWEST | 2844978.527 | 2139644.4341 | 2723690.2337 | Apr: 2712056.288; May: 2893161.3281
NCENT | 9675014.0581 | 10007379.7882 | 7982974.6429 | Apr: 7817994.6249; May: 8749459.8099
NORTH | 607531.9127 | 611686.4417 | 500573.5896 | Apr: 479103.5399; May: 509891.8648
SCENT | 4842642.6108 | 4871246.5544 | 4238623.1718 | Apr: 4378659.4364; May: 5040161.1771
SOUTH | 2293042.4243 | 2236364.6697 | 2179498.0633 | Apr: 2475805.3883; May: 2797019.0182
WEST | 899112.1089 | 851342.2345 | 730233.752 | Apr: 725471.1683; May: 898003.861
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2021
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | 22210.0577 | 16861.7651 | 21570.9024 | Apr: 12379.9455; May: 10793.348 | 83816.0186
Coal | 6803460.9221 | 5540041.4091 | 4036478.9364 | Apr: 4858991.4555; May: 5955676.1725 | 27194648.8955
Gas | 934381.6499 | 2842780.8526 | 1235423.489 | Apr: 2052141.4844; May: 1192925.7291 | 8257653.205
Gas-CC | 10743815.8195 | 10455207.0331 | 7023206.1799 | Apr: 8119285.8896; May: 10228449.7911 | 46569964.7133
Hydro | 35649.1879 | 55689.7105 | 23217.6383 | Apr: 50605.817; May: 75807.2756 | 240969.6291
Net DC/BLT | 39971.2141 | 171264.7931 | 52187.27 | Apr: 80301.8265; May: 61903.5015 | 405628.6052
Nuclear | 3801376.5406 | 3316997.2594 | 3368699.551 | Apr: 2987511.8109; May: 3748481.0808 | 17223066.2426
Other | 592.8013 | 14250.3099 | -771.5462 | Apr: -898.825; May: -1883.7753 | 11288.9647
Solar | 738201.9024 | 686426.7339 | 1084972.4748 | Apr: 1022391.0885; May: 1399601.8938 | 4931594.0933
Wind | 7702255.3782 | 5996038.1407 | 10483273.9126 | Apr: 8894572.0502; May: 9104312.1639 | 42180451.6456
Total | 30821915.4736 | 29095558.0072 | 27328258.808 | Apr: 28077282.5431; May: 31776067.1811 | 147099082.0129
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | 0.0721% | 0.058% | 0.0789% | Apr: 0.0441%; May: 0.034% | 0.057%
Coal | 22.07% | 19.04% | 14.77% | Apr: 17.31%; May: 18.74% | 18.49%
Gas | 3.032% | 9.771% | 4.521% | Apr: 7.309%; May: 3.754% | 5.614%
Gas-CC | 34.86% | 35.93% | 25.7% | Apr: 28.92%; May: 32.19% | 31.66%
Hydro | 0.1157% | 0.1914% | 0.085% | Apr: 0.1802%; May: 0.2386% | 0.1638%
Net DC/BLT | 0.1297% | 0.5886% | 0.191% | Apr: 0.286%; May: 0.1948% | 0.2758%
Nuclear | 12.33% | 11.4% | 12.33% | Apr: 10.64%; May: 11.8% | 11.71%
Other | 0.0019% | 0.049% | -0.0028% | Apr: -0.0032%; May: -0.0059% | 0.0077%
Solar | 2.395% | 2.359% | 3.97% | Apr: 3.641%; May: 4.405% | 3.353%
Wind | 24.99% | 20.61% | 38.36% | Apr: 31.68%; May: 28.65% | 28.67%
Total | 100% | 100% | 100% | Apr: 100%; May: 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel. This category also includes adjustments for Wholesale Storage Load.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Biomass | 22.2101 | 16.8618 | 21.5709 | Apr: 12.3799; May: 10.7933
Coal | 6803.4609 | 5540.0414 | 4036.4789 | Apr: 4858.9915; May: 5955.6762
Gas | 934.3817 | 2842.7809 | 1235.4235 | Apr: 2052.1415; May: 1192.9257
Gas-CC | 10743.8158 | 10455.207 | 7023.2062 | Apr: 8119.2859; May: 10228.4498
Hydro | 35.6492 | 55.6897 | 23.2176 | Apr: 50.6058; May: 75.8073
Net DC/BLT | 39.9712 | 171.2648 | 52.1873 | Apr: 80.3018; May: 61.9035
Nuclear | 3801.3765 | 3316.9973 | 3368.6996 | Apr: 2987.5118; May: 3748.4811
Other | 0.5928 | 14.2503 | -0.77155 | Apr: -0.89882; May: -1.8838
Solar | 738.2019 | 686.4267 | 1084.9725 | Apr: 1022.3911; May: 1399.6019
Wind | 7702.2554 | 5996.0381 | 10483.2739 | Apr: 8894.5721; May: 9104.3122
* Information for this month has been updated based on final settlements.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Net DC/BLT | Gas-CC | Gas
Jan* | 3801 | 6803 | 7702 | 738 | 36 | 22 | 1 | 40 | 10744 | 934
Feb* | 3317 | 5540 | 5996 | 686 | 56 | 17 | 14 | 171 | 10455 | 2843
Mar* | 3369 | 4036 | 10483 | 1085 | 23 | 22 | -1 | 52 | 7023 | 1235
Apr | 2988 | 4859 | 8895 | 1022 | 51 | 12 | -1 | 80 | 8119 | 2052
May | 3748 | 5956 | 9104 | 1400 | 76 | 11 | -2 | 62 | 10228 | 1193
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2020 Actual | 2021 Actual
Jan* | 29045 | 30822
Feb* | 28014 | 29096
Mar* | 28214 | 27328
Apr | 26968 | 28077
May | 31283 | 31776
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## data_Energy Comparisons_2 (hidden)
| 2021 Forecast | 2021 Actual
Jan* | 32810 | 30822
Feb* | 28418 | 29096
Mar* | 29475 | 27328
Apr | 28911 | 28077
May | 33507 | 31776
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2020 Actual | 2021 Actual
Jan* | 49072 | 58606
Feb* | 56128 | 69812
Mar* | 52833 | 45380
Apr | 55292 | 52800
May | 64411 | 62821
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## data_Demand Comparisons_2 (hidden)
| 2021 Forecast | 2021 Actual
Jan* | 60074 | 58606
Feb* | 59380 | 69812
Mar* | 52541 | 45380
Apr | 55139 | 52800
May | 64742 | 62821
Jun
Jul
Aug
Sep
Oct
Nov
Dec